## Slide 1: PERFORM Workshop June 17-18, 2019

## Slide 2: ARPA-E Team
Dr. Jenny Gerbi, Assoc. Director of Technology, Program Director
Dr. Kory Hedman, Program Director
Dr. Joe King, Program Director
Dr. Scott Litzleman, Program Director
Dr. Ashley Arigoni,
TechSETA
Dr. Ray Duthu, TechSETA
Dr. David Guarrera,
TechSETA
Dr. Mirjana Marden, TechSETA
Max Tuttman, T2M Advisor
Richard Wilson,
T2M Advisor

## Slide 3: Outline
A Modern Grid with Modern Management Systems
PERFORM Workshop Objectives and Program Status
The (tentative) PERFORM Program
Agenda

## Slide 4
A Modern Grid with Modern Management Systems

## Slide 5
If it works…
will it matter?

## Slide 6: The U.S. Grid is Changing!
Intermittent Resources
New Operation
Flexible Loads
Distributed Resources
T&D Merging
Storage
New Planning
Grid modernization effort: Modern grid & emerging resources need modernization in decision support tools

## Slide 7
Future of Electric Power Systems
Resource flexibility
Quality of service
Market Redesign
Risk-driven reform of electric energy markets
Transparent, fair evaluation of all asset offers
Decision Support / Management Systems
Risk management
Utilize ALL resources for all products and services
Scalability
Grid Innovation

## Slide 8
PERFORM Workshop Objectives and
Program Status

## Slide 9: Workshop Objectives
  Identify Innovative Risk and Performance-driven Operational and Planning Paradigms Consistent with Emerging Technologies
  Define Path to Adoption
Bridge Diverse Communities Necessary to Tackle Key Challenges
PERFORM Program Scope and Metrics

## Slide 10: ARPA-E Program Development & Execution
Project Handoff
Ongoing Technical Review
Contract Negotiations & Awards
Project Selection
Proposal Rebuttal
Merit Review of Proposals
Funding Opportunity Announcement
Program Approval
Workshop
Program Conception (Idea/Vision)
Transition Toward Market Adoption
EXECUTE
ESTABLISH
EVALUATE
ENGAGE
ENVISION
PROGRAM DEVELOPMENT CYCLE

## Slide 11
Site Data Collection, Processing, Analytics
Site Data
Year 1
Year 2
Year 3
Synthetic
Data
R&D
8-10 Teams
Validation
Validation
R&D
Refine
R&D
Refine
PERFORM R&D
Tentative Program Scope, Timeline, & Beyond
Year 4
Year 5
Site Data
R&D&D Finalize
Down Select: 3 Teams
Validation and Prediction
Down Select: 3 Teams
Down Select 3 Pilots: 2 Small + 1 Medium/Large
Data
Pilot

## Slide 12: Outreach and Engagement
We request: program design input
  Feedback is key to improve the scope, focus, and goals of this tentative program
Potential Involvement:
  Workshop: June 17-18, New York City
  Data
  Partner with potential teams
  Pilot testing opportunity
Benefit:
  Ability to influence and direct program relative to your current and future challenges
  Funding opportunity

## Slide 13: PERFORM Teams
INDUSTRY
FINANCE/
ACTUARIAL SCIENCE
POWER SYSTEMS
OPERATIONS RESEARCH
Targeted pilot locations
Data / validation
Risk metric
System risk assessment
Uncertainty quantification and valuation
Advanced tech
Asset / system modeling
Grid software
Optimization under uncertainty

## Slide 14
The (tentative) PERFORM Program

## Slide 15: Performance-based Energy Resource Feedback, Optimization, and Risk Management: PERFORM

## Slide 16: Paradigm Shift: Quantify Risk of Essential Reliability Services at Look-Ahead Time Stages
Emerging assets
Conventional assets
Existing paradigm
Future paradigm
High risk offers
Low risk offers
Energy
Energy
Ancillary Services
Ancillary Services

## Slide 17: PERFORM Program Overview
Asset Risk Assessment:
A standardized, transparent risk score to gauge each asset’s relative performance
System Risk Assessment:
Risk-based Energy Management System (REMS) to balance collective risk across the grid
Tech to Market:
Pilot testing with utilities or ISOs willing to collect data and evaluate proposed software solutions to gauge program pursuits
Program Thrust 2
Program Thrust 1

## Slide 18: Incorporating Risk Into Investments
Thrust 1: Asset Risk Assessment
Tech To Market: (Feedback Mechanism)
Thrust 2: System Risk Assessment
Current Evaluation: Risk not Quantified
0.5
0.6
0.7
1.0
0.8
0.9
Value – Cost Ratio
Risk
Efficient Frontier
Improve Forecasts
Improved Frontier
Onshore Wind Assets
PV-Solar Assets
Combined Cycle Assets
Nuclear Assets
Compliment with New Tech
Advance Technology
Deploy more often as base-load
Chosen Portfolio
Chosen Portfolio
Value-Cost Ratio is used as a proxy for “Return” and is defined by the EIA as the ratio of
Levelized Avoided Cost of Electricity (LACE) to Levelized Cost of Electricity (LCOE).
Sample values derived from: https://www.eia.gov/outlooks/aeo/pdf/electricity_generation.pdf

## Slide 19: Incorporating Risk into Operations
% Renewable Penetration
0.5
0.6
0.7
1.0
0.8
0.9
Value – Cost Ratio
Risk
Starting Portfolio
With 15% Renewables
Value-Cost Ratio is used as a proxy for “Return” and is defined by the EIA as the ratio of
Levelized Avoided Cost of Electricity (LACE) to Levelized Cost of Electricity (LCOE).
Sample values derived from: https://www.eia.gov/outlooks/aeo/pdf/electricity_generation.pdf
Onshore Wind Assets
PV-Solar Assets
Combined Cycle Assets
Nuclear Assets
Existing Rule:
Treat as must-take energy or curtail
Reduce need for conventional asset backup
1
2
3
4
1
0
2
3
4
5
6
7
8
9
Begin shuttering older plants
Convert to Ancillary Backup during daytime hours
Constrained Operations
Change Operations:
Allow renewables to make firm / non-firm / ancillary offers supported by well-founded risk analysis
Risk Balanced Operations

## Slide 20: Traditional Reliability with Conventional Assets
Traditional Risk Management with Conventional Assets
Variable Generation on a Small Asset
Conventional assets can secure system
with N-1 policy
“All or Nothing”
Chance of failure at each asset
Manage with Cont. Reserves
Chance of Cascading Failure and Blackout
Manage with Regulation
P[MW Deviation]
MW Deviation
(Offers – Deliveries)
System Risk
Renew A
Plant A
Plant B
Plant C
Plant D
DMW
P[DMW]
DMW
DMW
DMW
P[DMW]
P[DMW]
P[DMW]
P[DMW]
DMW
Not part of security policy

## Slide 21: Traditional Reliability with Conventional Assets
Traditional Risk Management with Conventional Assets
1.70
1.09
Variable Generation on a Small Asset
Conventional assets can secure system
with N-1 policy
“All or Nothing”
Chance of failure at each asset
Chance of Cascading Failure and Blackout
Manage with Regulation
P[MW Deviation]
MW Deviation
(Offers – Deliveries)
System Risk
Load
Available
System Gen.
GW
600
0.93
350
180
500
70
Plant D
Plant C
Plant B
Plant A
Renew A
Renew A
0
Unexpected Plant Failure
Sufficient Reserves with Conventional Assets
Avoid Failure
60
Expected
MW
Expected
Plant A
Plant B
Plant C
Plant D
DMW
P[DMW]
DMW
DMW
DMW
P[DMW]
P[DMW]
P[DMW]
P[DMW]
DMW
Delivered
Delivered
Not part of security policy
Manage with Cont. Reserves

## Slide 22: Traditional Reliability with Increasing Renewables
60
120
90
25
160
110
70
100
150
40
130
90
350
180
500
70
Delivered
500
180
Retired -- Displaced by Renewable Capacity
1.70
Variable Generation on a Small Asset
Traditional Risk Management with Conventional Assets
“All or Nothing”
Chance of failure at each asset
Chance of Cascading Failure and Blackout
Manage with Regulation
Probability
MW Deviation
(Offers – Deliveries)
System Risk
and Intermittent Renewables
Forced
Curtailment
Load
Available
System Gen.
600
0.93
Plant D
Plant C
Plant B
Plant A
Renew A
Plant A
Plant B
Plant C
Plant D
Renew A
Renew B
Renew C
Renew D
Renew E
Renew F
600
1.25
0
Fewer conventional assets to secure N-1
High Risk at N-1
Delivery from renewables does not match prediction
Insufficient Conventional Reserves
GW
Expected
MW
Expected
Delivered
1.86
Renewables use
must-take or curtail policy
Plant A
DMW
P[DMW]
Plant B
DMW
P[DMW]
Plant C
DMW
P[DMW]
Plant D
DMW
P[DMW]
Renew A
P[DMW]
DMW
Renew A
Renew D
Renew B
Renew E
Renew C
Renew F
P[DMW]
DMW
P[DMW]
DMW
P[DMW]
DMW
P[DMW]
DMW
P[DMW]
DMW
P[DMW]
DMW
Unexpected Plant Failure
Manage with Cont. Reserves

## Slide 23: Reliability with Risk-Based Management System
Chance of Cascading Failure and Blackout
Manage with Regulation
Probability
MW Deviation
(Offers – Deliveries)
System Risk
Performance-Based Risk Management over All Assets
Balanced risk policy
that incorporates renewables
Forced
Curtailment
Load
Available
System Gen.
0.93
Sufficient Reserves with Firm Offers from Mix of Assets
Plant A
Plant B
Plant C
Plant D
Renew A
Renew B
Renew C
Renew D
Renew E
Renew F
600
0
70
100
150
40
130
90
1.25
Unexpected Plant Failure
Avoid Failure
Renew A
Renew D
Renew B
Renew E
Renew C
Renew F
P[DMW]
DMW
P[DMW]
DMW
P[DMW]
DMW
P[DMW]
DMW
P[DMW]
DMW
P[DMW]
DMW
Plant A
DMW
P[DMW]
Plant B
DMW
P[DMW]
Plant D
DMW
P[DMW]
500
180
Retired -- Displaced by Renewable Capacity
1.86
Split Into Firm and Non-Firm Offers
Increase Firm Capacity
GW
Expected
MW
Delivered
Delivered
Expected
Renewable firm offers are portion of total predicted service with a very high reliability of delivery
60
120
90
25
160
110
60
120
90
25
160
110
Manage with Cont. Reserves

## Slide 24
Agenda

## Slide 25: Monday Morning Agenda
Jessica Harrison, Director of Research and Development,
Midcontinent Independent System Operator (MISO)
Mahesh Morjaria, VP of PV Systems Development,
First Solar
Breakout Session 1: Towards Industry Adoption
Lunch

## Slide 26: Workshop Objectives
  Identify Innovative Risk and Performance-driven Operational and Planning Paradigms Consistent with Emerging Technologies
  Define Path to Adoption
Bridge Diverse Communities Necessary to Tackle Key Challenges
PERFORM Program Scope and Metrics

## Slide 27: We seek your feedback and input!
Kory W. Hedman
Program Director
Advanced Research Projects Agency – Energy (ARPA-E)
U.S. Department of Energy
Kory.Hedman@hq.doe.gov